IFRC WASH TOOL · FORM / TEMPLATE

Sanitary survey form: covered dug well with a handpump

Module 3: Sanitary surveys  ·  Handout 1  ·  Curriculum p. 109

A sanitary survey is an on-site inspection of the conditions, equipment and practices in a water supply that pose an actual or potential danger to the health of the people using the water. Answer each question Yes (Y) or No (N) and add up the number of Yes answers.

I. General information

| Village/Community |  |
| --- | --- |
| District |  |
| Date |  |
| Survey number |  |

II. Specific information for risk assessment

| No. | Question | Y / N |
| --- | --- | --- |
| 1 | Is there a toilet within 10 metres of the well and handpump? | Y / N |
| 2 | Is the nearest latrine on higher ground than the well and handpump? | Y / N |
| 3 | Is there any other source of pollution (e.g., animal excreta, rubbish) within 10m of the well? | Y / N |
| 4 | Is the drainage poor, causing non-moving water within two metres of the well? | Y / N |
| 5 | Is there a faulty drainage channel? Is it broken, allowing ponding? | Y / N |
| 6 | Is the wall or fencing around the well inadequate, allowing animals in? | Y / N |
| 7 | Is the concrete floor less than 1m wide all around the well? | Y / N |
| 8 | Is there any ponding on the concrete floor around the handpump? | Y / N |
| 9 | Are there any cracks in the concrete floor around the well which could permit water to enter the well? | Y / N |
| 10 | Is the handpump loose where it is attached to the base, allowing water to enter the casing or pipes? | Y / N |
| 11 | Is the cover of the well unsanitary? | Y / N |
| 12 | Are the walls of the well inadequately sealed at any point for three metres below ground level? | Y / N |

Total score of risks: ............ / 12

Contamination risk score:  9 to 12 = very high   ·   6 to 8 = high   ·   3 to 5 = intermediate   ·   0 to 2 = low

III. Results and recommendations

......................................................................

......................................................................

......................................................................

......................................................................

Name of surveyor: ......................................................................

Signature of surveyor: ......................................................................